## VERSION
1 | First Release
1.01 | FUTURE TIME - Consumption Rate per Slot formula corrected

## TIME NOW
Time Now | 46240.1268 |  | Hour | Minute
Battery Capacity | 13.9 | kWh | 6 | 0
Minimum Battery % Level | 20% |  | 3 | 2
Useable Battery Capacity | 11.12 | kWh | 2 | 58
Consumption Rate per Day | 9.7 | kWh
Consumption Rate per slot | 0.20208 | kWh |  | -2
Charge Rate of Charger | 5 | kW
Charge Rate per slot | 2.5 | kWh
Battery Level Now % | 73%
Battery Level Now | 10.147 | kWh
Time Slot | 6:00
Number of Slots | 1
Time to Slot Start | 2.9667 | hours
Battery Level at Slot Start | 8.948 | kWh
Battery Level at Slot Start % | 64.37%
Battery Level at Slot End | 11.2459 | kWh
Battery Level at Slot End % | 80.91%

## FUTURE TIME
Future Now | 8:30 |  | Hour | Minute
Battery Capacity | 13.9 | kWh | 22 | 30
Minimum Battery % Level | 20% |  | 8 | 30
Useable Battery Capacity | 11.12 | kWh | 14 | 0
Consumption Rate per Day | 9.7 | kWh
Consumption Rate per slot | 0.20208 | kWh |  | 0
Charge Rate of Charger | 5 | kW
Charge Rate per slot | 2.5 | kWh
Battery Level Now % | 100%
Battery Level Now | 13.9 | kWh
Time Slot | 22:30
Number of Slots | 1
Time to Slot Start | 14 | hours
Battery Level at Slot Start | 8.2417 | kWh
Battery Level at Slot Start % | 59.29%
Battery Level at Slot End | 10.5396 | kWh
Battery Level at Slot End % | 75.82%